29541_reviewer
Translating Clinical Rules into Anatomical Structure: Landmark-Relative Rectification for Nasal Polyp Grading

论文提出AnatoDepth，将鼻息肉评分（NPS）的文字临床规则转化为相对中鼻甲（MT）和下鼻甲（IT）的可计算解剖约束，并在基线模型不确定且解剖证据可靠时对冻结分级模型的logits进行后置修正。整体思路具有临床意义、一定创新性和较好的可解释性，EndoNPS结果也显示出潜力。但目前关键数据、上游分割/深度模块、门控行为、跨任务适配和统计可靠性均说明不足，核心结论尚未被充分验证。因此建议大修（Major Revision）。

1、数据集信息不充分。文中仅报告EndoNPS包含5,382张图像，并称使用patient-disjoint划分，但没有报告患者总数、每个划分的患者数和图像数、五个等级的分布、中心/设备来源、纳排标准及重复图像处理方式。请补充完整队列流程和类别分布。

2、整套方法依赖息肉、MT和IT掩膜，但论文没有充分说明独立分割网络的结构、训练集标注规模、标注协议和性能。应分别报告polyp/MT/IT的Dice、边界或表面指标，以及landmark可见性识别性能，并分析分割误差如何传播到最终分级。

3、相对深度分支的来源与训练策略不清楚。文中说明没有真实深度标注，却未明确深度模型采用何种预训练、是否在内镜数据上微调、冻结的具体模型及输入裁剪流程。Figure 5只有单个定性示例，不能证明裁剪对深度线索和最终NPS性能的稳定贡献。

4、需要增加清晰的深度消融：使用完全相同的解剖边界特征，比较无深度、原始深度、裁剪后深度，并报告MAE/AUC及多次运行波动。否则AnatoDepth中“Depth”的独立贡献没有得到验证。

5、Table 3的模块组合和依赖关系需要澄清。AGDB依赖APDCE产生的解剖掩膜/深度/语义响应，EAGR又需要AGDB产生偏置；因此“AGDB单独启用”或“EAGR单独启用”的计算路径并不直观。此外正文交替使用RCOB和ROCB。请给出每个消融设置的精确定义并统一命名。

6、当前对比不足以证明提升来自临床解剖规则，而不是普通的post-hoc校准。建议增加温度缩放、向量/Dirichlet calibration、基于baseline confidence的MLP、仅使用面积与置信度的容量匹配校正头，以及不含MT/IT相对距离的控制实验。

7、Evidence-Aware Gate是“安全修正”主张的核心，但没有报告门控覆盖率和净收益。请按总体和各等级报告触发率、错误→正确、正确→错误、未改变、平均修正幅度，并验证G=0时输出与基线完全一致。还应报告landmark缺失、分割置信度低和深度不稳定子集的结果。

8、阈值prob_min、epsilon、lambda、b_max、A_min、q_min和rho_min均由验证集选择，但文中只展示三个参数的一维敏感性。请报告具体值、搜索范围/步长、选择目标及各数据集是否独立调参，避免多参数选择造成乐观偏差。

9、统计证据不足。结果未给出多次运行的均值±标准差、患者级bootstrap置信区间或显著性检验。由于同一患者可能有多张图，统计重采样和数据划分必须以患者为单位，不能把图像视为相互独立样本。

10、跨任务实验的可复现性不足。对于IDRiD和Digital Knee，作者只称重新定义了task-specific landmarks、rules和geometric descriptors，却没有说明具体landmark、规则公式、掩膜来源和标注成本。这两个数据集也不能替代EndoNPS的多中心外部验证，应收缩“泛化”表述。

11、临床标注信息不足。请报告NPS标签和结构掩膜由多少名ENT专家标注、是否盲法复核、分歧如何解决，以及评分一致性（如weighted kappa）。同时补充伦理审批/知情同意或豁免、去标识化和数据使用说明。

12、MAE适合有序误差，但ACC、macro-F1和one-vs-rest AUC不足以完整描述有序分类。建议补充weighted kappa、混淆矩阵、相邻/非相邻等级错误率及患者级95%置信区间，重点验证Mild–Moderate与Moderate–Severe边界。

13、论文应更清楚区分“相对深度线索”和真实三维解剖深度。现有文字总体较谨慎，但方法名AnatoDepth和部分描述仍可能使读者误解为三维重建或物理深度测量。建议在摘要、方法和局限性中进一步限定该主张。

14、定性分析不足。Figure 3应明确每个病例的GT、baseline预测、修正预测、MT/IT/polyp掩膜轮廓、门控值和d_MT/d_IT，并增加成功、无效修正和有害修正病例，而不只展示代表性成功样例。

15、建议增加独立Discussion部分，系统讨论单中心偏倚、内镜设备/视角变化、landmark不可见、鼻腔侧别、遮挡/反光/黏液、严重等级样本不平衡和自动分割失效等临床部署风险。

The manuscript proposes AnatoDepth, an interpretable rule-guided post-hoc rectification framework that translates textual NPS criteria into landmark-relative anatomical constraints. The idea is clinically meaningful and potentially novel, and the reported EndoNPS results are promising. However, the current evidence chain is incomplete: essential cohort information, upstream segmentation/depth validation, gate-level safety analysis, cross-task implementation details, calibration controls, and patient-level statistical uncertainty are missing. Therefore, I recommend Major Revision before the manuscript can be considered for publication.

1. The EndoNPS cohort is insufficiently described. Please report patient and image counts in each split, grade distribution, center/device sources, inclusion/exclusion criteria, and handling of repeated frames. A patient-level cohort flowchart is recommended.

2. The framework critically depends on polyp, MT, and IT masks, yet the segmentation model, annotation protocol, training sample size, and performance are not adequately reported. Please provide structure-wise Dice and boundary/surface metrics, landmark-visibility accuracy, and error propagation from parsing to grading.

3. The provenance and training of the monocular-depth branch are unclear. Specify the exact model, pretraining data, any endoscopic fine-tuning, frozen components, and cropping pipeline. A single qualitative example in Figure 5 is insufficient.

4. A controlled depth ablation is required: no depth versus original-image depth versus cropped-image depth, under otherwise identical anatomical features. Report repeated-run variability.

5. Clarify every Table 3 pathway. AGDB appears to depend on APDCE, while EAGR requires AGDB's bias. Correct the inconsistent RCOB/ROCB terminology and define the actual inputs for each row.

6. Include generic post-hoc calibration controls: temperature scaling, vector/Dirichlet calibration, a confidence-only MLP, an area/confidence-only capacity-matched head, and a control without MT/IT-relative distances.

7. Audit EAGR by reporting activation rates, wrong-to-correct and correct-to-wrong changes, unchanged cases, correction magnitudes, and grade/evidence-stratified results. Numerically verify exact baseline preservation when G=0.

8. Report values, search ranges, step sizes, and selection objectives for all thresholds and coefficients, and clarify whether each dataset was independently tuned.

9. Report repeated-run mean±SD, patient-level bootstrap confidence intervals, and paired tests. Multiple images from one patient must not be treated as independent observations.

10. Make the IDRiD and Digital Knee adaptations reproducible by specifying their landmarks, rules, descriptors, mask sources, and annotation cost. Do not use these tasks as a substitute for multi-center EndoNPS validation.

11. Report annotator expertise and number, blinded review/adjudication, inter-rater agreement, ethics approval, consent/waiver, de-identification, and data governance.

12. Add weighted kappa, confusion matrices, adjacent/non-adjacent grade errors, and patient-level 95% confidence intervals, emphasizing the targeted grade transitions.

13. More clearly distinguish auxiliary relative-depth cues from physical three-dimensional depth to avoid overstating what a monocular frame can provide.

14. Figure 3 should include GT, baseline/corrected grades, MT/IT/polyp contours, gate values, d_MT/d_IT, and successful, neutral, and harmful cases.

15. Add a dedicated Discussion of single-center bias, device/viewpoint shifts, landmark invisibility, laterality, occlusion/reflection/mucus, imbalance, segmentation failure, and deployment risks.